## Medical Equipment
# | Item | Unit | Description | QUANTITY | Unit price "USD" | Total Price "USD" | Manufacturer | Model No. | Country of oirgin | Delivary Time (days) | Warranty | In Stock (Yes/No)
1 | Patient Monitor | Device | Multi-parameter patient monitor for continuous patient monitoring, measuring ECG, NIBP, SpO₂, and temperature. Equipped with a color display, visual and audible alarms, trend storage, and user-friendly operation. Includes internal rechargeable battery suitable for patient transport and power failure. Upgradeable to IBP and EtCO₂. Compliant with CE / ISO standards. | 1
2 | ECG | Device | 12-channel electrocardiograph suitable for routine cardiac diagnostics in clinical and hospital settings. Capable of ECG acquisition, display, recording, and printing, with built-in thermal printer. Supplied complete with patient cables and electrodes (chest and limb leads). The device must be delivered with two (2) boxes of ECG recording paper fully compatible with the offered device. Includes all standard accessories required for immediate operation. Compliant with CE / ISO standards. | 1
3 | Syringe Pump | Device | Electronic syringe pump suitable for accurate and continuous infusion of medications in clinical and hospital settings. Capable of delivering precise flow rates with high accuracy, compatible with standard disposable syringes of different sizes. Features clear display, visual and audible alarms, occlusion detection, and user-friendly operation. Designed for safe use in wards, ICU, and operating rooms. Includes all standard accessories required for immediate operation. Compliant with CE / ISO standards. | 1
4 | Blood Infusion warmer | Device | Medical device for warming blood and intravenous fluids before administration to patients. Suitable for clinical and hospital use, providing controlled and safe warming with adjustable temperature settings. Includes all standard accessories required for immediate use. Compliant with CE / ISO standards. | 1
5 | Corrugated breathing circuit | PC | Single-use corrugated breathing circuit with integrated water trap, 1.5 meters in length, suitable for use with anesthesia and ventilator machines. Delivered 1 piece per pack. Provides safe and efficient respiratory gas delivery. Compliant with CE / ISO standards. | 30
6 | Stainless Steel Instrument Trolley | PC | Stainless steel instrument trolley suitable for safe storage and easy transport of medical instruments in hospital settings. Equipped with multiple shelves and smooth-rolling wheels for mobility. Durable, easy to clean, and suitable for daily use. Compliant with CE / ISO standards. | 5
7 | Patient Warming Mattress | PC | Patient warming mattress suitable for maintaining body temperature in clinical and hospital settings. Mattress size: 150 × 50 cm. Provides uniform heating with adjustable temperature settings and safe operation. Includes all standard accessories required for immediate use. Compliant with CE / ISO standards. | 1
8 | Infusion Pump | Device | Electronic infusion pump for accurate and continuous medication delivery. Features precise flow control, visual and audible alarms, occlusion detection, and user-friendly operation. Includes all standard accessories. Compliant with CE / ISO standards. | 1
9 | Manual Hospital Bed, Single-Function | PC | Manual hospital bed for patient care, with a single function to raise and lower the backrest and head section. Operated via a hand crank for simple and economical adjustment. Sturdy metal frame with anti-corrosion coating. Equipped with adjustable safety side rails. Compliant with CE / ISO standards. | 5

## Assistive Devices
# | item | Description / Specifications | Unit | Quantity | Unit price USD | Total price USD | Manufacturer | Model No. | Country of Origin | Delivary Time (days) | Warranty | In Stock (Yes/No)
1 | Pediatric Wheelchair | Frame: Durable, rust-resistant metal frame for long-lasting use. Portability: Fully foldable design for easy storage and transport. Comfort: Removable armrests for easier side transfers; durable, easy-to-clean seat upholstery. Capacity: Supports a maximum load of up to 120 kg. Available Sizes: Seat Width 35 cm ¦ Depth 40 cm (Ideal for slim users / teens). Specifications: Seat Height 50 cm ¦ Backrest Height 45 cm. | chair | 45
2 | Adult Wheelchair | Frame: Durable, rust-resistant metal frame for long-lasting use. Portability: Fully foldable design for easy storage and transport. Comfort: Removable armrests for easier side transfers; durable, easy-to-clean seat upholstery. Capacity: Supports a maximum load of up to 120 kg. Available Sizes: Seat Width 40 cm ¦ Depth 40 cm. Specifications: Seat Height 50 cm ¦ Backrest Height 45 cm. Warranty: 1-Year Comprehensive Warranty. | chair | 100
3 | Adult Wheelchair | Frame: Durable, rust-resistant metal frame for long-lasting use. Portability: Fully foldable design for easy storage and transport. Comfort: Removable armrests for easier side transfers; durable, easy-to-clean seat upholstery. Capacity: Supports a maximum load of up to 120 kg. Available Sizes: Seat Width 45 cm ¦ Depth 45 cm. Specifications: Seat Height 50 cm ¦ Backrest Height 45 cm. | chair | 200
4 | Adult Wheelchair | Frame: Durable, rust-resistant metal frame for long-lasting use. Portability: Fully foldable design for easy storage and transport. Comfort: Removable armrests for easier side transfers; durable, easy-to-clean seat upholstery. Capacity: Supports a maximum load of up to 150 kg. Available Sizes: Seat Width 50 cm ¦ Depth 50 cm. Specifications: Seat Height 50 cm ¦ Backrest Height 50 cm. | chair | 150
5 | CP Wheelchair – Small | Frame: Durable, rust-resistant metal frame for long-lasting use. Portability: Fully foldable design for easy storage and transport. Comfort: Removable armrests, adjustable footrest, head support, adjustable lateral cushions; durable, easy-to-clean seat upholstery. Capacity: Supports a maximum load of 40–50 kg. Available Sizes: Seat Width 30–35 cm ¦ Depth 25–30 cm. Specifications: Seat Height 35–40 cm ¦ Backrest Height 40–45 cm. | chair | 10
6 | Toilet Chair | Frame: Durable, rust-resistant metal frame suitable for long-term use. Design: Standalone toilet chair for bedside and indoor use. Comfort: Padded seat with ergonomic design for user comfort. Function: Equipped with a removable commode bucket for easy cleaning and hygiene. Safety: Anti-slip rubber feet to ensure stability during use. Portability: Lightweight structure, easy to move and position. Hygiene: Easy-to-clean materials suitable for medical and home care use. Capacity: Supports a maximum load of up to 120 kg. Usage: Ideal for elderly patients, post-operative care, and individuals with limited mobility. | chair | 50
7 | Commode Wheelchair | Frame: Durable, rust-resistant metal frame suitable for long-term use. Mobility: Equipped with wheels for easy movement and patient transfer. Portability: Foldable design for convenient storage and transport. Comfort: Removable armrests and comfortable backrest for user support. Function: Built-in commode opening with removable and easy-to-clean waste bucket. Safety: Anti-slip wheels with locking brakes for added stability and safety. Hygiene: Easy-to-clean surface, suitable for medical and home care use. Capacity: Supports a maximum load of up to 120 kg. Usage: Suitable for elderly patients, post-surgery cases, and individuals with limited mobility. | chair | 100
8 | Walker with Wheels | Frame: Lightweight, durable aluminum frame, rust-resistant for long-term use. Mobility: Equipped with smooth-rolling front wheels for easy movement and enhanced stability. Portability: Foldable design for easy storage and transportation. Comfort: Ergonomic hand grips with non-slip surface for better control and comfort. Safety: Non-slip rubber rear tips for added stability and safety during use. Height Adjustment: Adjustable height to suit different user needs. Capacity: Supports a maximum load of up to 120 kg. Usage: Suitable for indoor and outdoor use. | PC | 120
9 | Walker without Wheels | Frame: Lightweight, durable aluminum frame, rust-resistant for long-term use. Mobility: Fixed-leg design without wheels for maximum stability and safety. Portability: Foldable design for easy storage and transport. Comfort: Ergonomic, non-slip hand grips for secure and comfortable use. Safety: Anti-slip rubber tips on all legs to prevent sliding and ensure stability. Height Adjustment: Adjustable height to accommodate different user needs. Capacity: Supports a maximum load of up to 120 kg. Usage: Suitable for indoor use and rehabilitation purposes. | PC | 120
10 | Auxiliary Crutches L | Frame: Lightweight aluminum, rust-resistant for long-term use. Portability: Foldable design for easy storage and transport (optional). Comfort: Ergonomic non-slip handles, soft underarm pads, non-slip rubber tips. Capacity: Supports a maximum load of 40–60 kg. Adjustable Height: 110–130 cm. | Pair | 450
11 | Auxiliary Crutches M | Frame: Lightweight aluminum, rust-resistant for long-term use. Portability: Foldable design for easy storage and transport (optional). Comfort: Ergonomic non-slip handles, soft underarm pads, non-slip rubber tips. Capacity: Supports a maximum load of 40–60 kg. Adjustable Height: 100–120 cm. | Pair | 200
12 | Auxiliary Crutches S | Frame: Lightweight aluminum, rust-resistant for long-term use. Portability: Foldable design for easy storage and transport (optional). Comfort: Ergonomic non-slip handles, soft underarm pads, non-slip rubber tips. Capacity: Supports a maximum load of 40–60 kg. Adjustable Height: 90–110 cm. | Pair | 50
13 | Elbow Crutches – Adult | Aluminum, lightweight, rust-resistant, height adjustable 90–130 cm, ergonomic non-slip hand grips, adjustable forearm cuffs, non-slip rubber tips, weight capacity 40–60 kg, foldable optional | Pair | 400
14 | walking Stick (one point) | Material: Lightweight aluminum or sturdy wood Height: Adjustable (e.g., 85–95 cm) Handle: Ergonomic, non-slip Tip: Single rubber or silicone tip for anti-slip Additional features: Lightweight, foldable (optional), suitable for elderly or people with walking difficulties | PC | 100
15 | walking Stick (Three point) | Material: Lightweight aluminum or sturdy wood Height: Adjustable (e.g., 85–95 cm) Handle: Ergonomic, non-slip Tips: Three rubber or silicone tips for better stability and anti-slip Additional features: Lightweight, foldable (optional), provides extra balance support, suitable for elderly or people with walking difficulties | PC | 100